Equipotential

Product Code：Y1003

PRODUCT  DESCRIPTION

This product is made of high quality cold-rolled steel plate, the internal structure of copper.

Function description

TD28 equipotential connection terminals used in high-grade hotels,hotels,senior residential toilet or a hospital operation room as local equipotential connection,it covers almost all of the possible leakage of conductive parts,really reached a local equipotential bonding and it is the modern residential basic equipotential connection.

Installation dimension

Size:150*70*40 mm

Type:TD28 Copper bar 2*20 1.2*20